| TSC5 Z136 | Non-Beam Hazards Technical Subcommittee |
| --- | --- |

TSC5 Z136 Meeting Minutes, 18 May 2026

Date:	18 May 2026

Memo to:	Technical Subcommittee 5 (Non-Beam Hazards)

From:	Troy Gonyon, Chair TSC5

Subject:	Draft Minutes of the ANSI TSC5 Meeting 18 May 2026

Location:	Lawrence Livermore National Laboratory LSO Workshop

# Call To Order

- Troy Gonyon, Chair of Technical Subcommittee 5 (Non-Beam Hazards), called the meeting to order at 11:02 am PT.

- The meeting was held by Microsoft Teams meeting; Arzu Ozkan (Secretary) recorded and prepared the minutes.

- The following graphic lists (alphabetically) the current TSC5 Z136 Committee Registered Participants, with blue highlight illuminating those who attended the meeting.

| Ken Barat Ritchie Buschow Liliana Caldero (LIA) Rebecca Daskalova Ben Edwards (Chair) Troy Gonyon John Gough Donald Haes (Vice Chair) Yuliya Henes Richard Hughes Niel Leon Jamie King Arzu Ozkan | Patti Owens Daniel Palmerton William Pate Randolph Paura Angel Plaza Denny Rossbach Barbara Sands Penny Smalley Robert Thomas Carol Tomczyk Michael Woods Karisa Yang Sheldon Zimmerman |
| --- | --- |

## Chairs’ Note

This represents the first TSC5 meeting since October 31, 2022. The committee has been working to reorganize documentation and establish improved processes.

# Agenda

1. Approval of Previous Minutes

a. Troy reviewed the October 31, 2022 draft minutes.
b. Correction noted: "Patty Smalley" corrected to "Penny Smalley."
c. Motion to approve: Mike Woods moved; Becky seconded. Motion passed unanimously.

2. Committee Status & SSC Coverage

Current Z136 Standard Status:

- Z136.1 (Dot 1): Under ballot (due Thursday)

- Z136.3 (Dot 3): Active revision

- Z136.8 (Dot 8): Active revision

- Z136.9 (Dot 9): Monitoring

TSC5 has adequate coverage across all active SSCs. Barbara Sands proposed to join SSC3 as TSC5 liaison.

3. Z136.1 Section 7 Updates - Mike Woods

Key Updates to Non-Beam Hazards Section:

a. Fire/Ignition (7.1.1): Updated to 0.5 W/cm² (average irradiance) per NFPA standards

Action: Clarify "average" in table

b. Ionizing Radiation (7.1.2): Threshold lowered to 10¹⁴ W/cm² for ultrashort pulse lasers

Two-tier approach: <10¹⁶ (skin hazard) vs. >10¹⁶ (RSO required)

c. Electrical (7.1.3): 100 VDC threshold from NFPA 70

Discussion: "Shall" language may be too prescriptive for guidance document

d. Blue Light Hazard (7.1.4): Added awareness for visible/IR laser material interactions

e. Noise (7.1.5): 85 dBA action level referenced; defer to IH

f. Hot Surfaces (7.1.7): 70°C threshold from European standards

g. Consistency Issue: Inconsistent use of "shall" vs. "should" throughout Section 7

4. Z136.3 Update - Penny Smalley

- One year into revision with new format

- Eliminated outdated appendices; developing 9 new appendices

- Quarterly meetings with strong engagement

- Q3 meeting: Will begin main body work

- Seeking TSC5 collaboration; reviewing normative vs. informative NBH placement

5. Z136.8 Update

- Officers reviewing comments; will circulate for additional input

- Focus: Section 7 and Appendix G

- Key topics: nanoparticles, cryogenics, plasma radiation, x-ray thresholds

6. Emerging NBH Trends (2026)

a. Laser-Generated Airborne Contaminants: Collaboration with SSC3; LIA developing user guides
b. Battery Energy Storage Systems: Lithium-ion hazards; NFPA 800 (draft) as reference
c. Fiber Optic Fires: High-power systems (>10W); metal trays recommended
d. Nanoparticle Generation: Critical concern with femtosecond lasers

- Gaps: measurement methods, exposure limits, LSO guidance

- Need laser parameter thresholds and literature references

7. Governance & Institutional Knowledge

Problem: Heavy reliance on undocumented institutional memory

Proposed Solution: TSC5 Internal Governance Guide

- Mission/scope review

- Horizontal vs. vertical guidance

- Revision protocols

- Record retention

- Decision frameworks

Status: Exploratory phase

8. Action Items

1. Verify Active TSC5 Membership

(Owner: Troy Gonyon; Due Date: Before next meeting)

2. Clarify "Average Irradiance" in Dot 1 Table (Section 7.1.1)

(Owner: Mike Woods; Due Date: Thursday (ballot deadline))

3. Fiber Optic Fire Hazard Comment for Dot 9

(Owner: Denny Rossbach (via email to Troy); Due Date: for current ballot)

4. Nanoparticle Guidance Development

(Owner: Mike Woods / Rebecca; Due Date: TBD)

5. SSC3 Liaison Application

(Owner: Barbara Sands; Due Date: ASAP)

6. TSC5 Internal Governance Guide Framework

(Owner: Troy Gonyon; Due Date: Exploratory/TBD)

7. Review Dot 8 Section 7 and Appendix G

(Owner: All TSC5 members; Due Date: Before SCDV1)

9. Adjourn

Meeting adjourned at approximately 12:30 PM PT.