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Date:	18 May 2026
Memo to:	Technical Subcommittee 5 (Non-Beam Hazards)
From:	Troy Gonyon, Chair TSC5
Subject:	Draft Minutes of the ANSI TSC5 Meeting 18 May 2026
Location:	Lawrence Livermore National Laboratory LSO Workshop
CALL TO ORDER
· Troy Gonyon, Chair of Technical Subcommittee 5 (Non-Beam Hazards), called the meeting to order at 11:02 am PT.
· The meeting was held by Microsoft Teams meeting; Arzu Ozkan (Secretary) recorded and prepared the minutes.
· The following graphic lists (alphabetically) the current TSC5 Z136 Committee Registered Participants, with blue highlight illuminating those who attended the meeting.

	Ken Barat Ritchie Buschow
Liliana Caldero (LIA) 
Rebecca Daskalova
Ben Edwards (Chair) Troy Gonyon
John Gough
Donald Haes (Vice Chair)
Yuliya Henes Richard Hughes Niel Leon
Jamie King
Arzu Ozkan	
	Patti Owens
Daniel Palmerton William Pate Randolph Paura Angel Plaza Denny Rossbach
Barbara Sands
 Penny Smalley    Robert Thomas Carol Tomczyk Michael Woods Karisa Yang
Sheldon Zimmerman
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CHAIRS’ NOTE
This represents the first TSC5 meeting since October 31, 2022. The committee has been working to reorganize documentation and establish improved processes.

AGENDA
1. Approval of Previous Minutes
a. Troy reviewed the October 31, 2022 draft minutes.
b. Correction noted: "Patty Smalley" corrected to "Penny Smalley."
c. Motion to approve: Mike Woods moved; Becky seconded. Motion passed unanimously.
2. Committee Status & SSC Coverage
Current Z136 Standard Status:
· Z136.1 (Dot 1): Under ballot (due Thursday)
· Z136.3 (Dot 3): Active revision
· Z136.8 (Dot 8): Active revision
· Z136.9 (Dot 9): Monitoring
TSC5 has adequate coverage across all active SSCs. Barbara Sands proposed to join SSC3 as TSC5 liaison.
3. Z136.1 Section 7 Updates - Mike Woods
Key Updates to Non-Beam Hazards Section:
a. Fire/Ignition (7.1.1): Updated to 0.5 W/cm² (average irradiance) per NFPA standards
Action: Clarify "average" in table
b. Ionizing Radiation (7.1.2): Threshold lowered to 10¹⁴ W/cm² for ultrashort pulse lasers
Two-tier approach: <10¹⁶ (skin hazard) vs. >10¹⁶ (RSO required)
c. Electrical (7.1.3): 100 VDC threshold from NFPA 70
Discussion: "Shall" language may be too prescriptive for guidance document
d. Blue Light Hazard (7.1.4): Added awareness for visible/IR laser material interactions
e. Noise (7.1.5): 85 dBA action level referenced; defer to IH
f. Hot Surfaces (7.1.7): 70°C threshold from European standards
g. Consistency Issue: Inconsistent use of "shall" vs. "should" throughout Section 7

4. Z136.3 Update - Penny Smalley
· One year into revision with new format
· Eliminated outdated appendices; developing 9 new appendices
· Quarterly meetings with strong engagement
· Q3 meeting: Will begin main body work
· Seeking TSC5 collaboration; reviewing normative vs. informative NBH placement

5. Z136.8 Update
· Officers reviewing comments; will circulate for additional input
· Focus: Section 7 and Appendix G
· Key topics: nanoparticles, cryogenics, plasma radiation, x-ray thresholds

6. Emerging NBH Trends (2026)
a. Laser-Generated Airborne Contaminants: Collaboration with SSC3; LIA developing user guides
b. Battery Energy Storage Systems: Lithium-ion hazards; NFPA 800 (draft) as reference
c. Fiber Optic Fires: High-power systems (>10W); metal trays recommended
d. Nanoparticle Generation: Critical concern with femtosecond lasers
· Gaps: measurement methods, exposure limits, LSO guidance
· Need laser parameter thresholds and literature references

7. Governance & Institutional Knowledge
Problem: Heavy reliance on undocumented institutional memory
Proposed Solution: TSC5 Internal Governance Guide
· Mission/scope review
· Horizontal vs. vertical guidance
· Revision protocols
· Record retention
· Decision frameworks
Status: Exploratory phase

8. Action Items
1. Verify Active TSC5 Membership
(Owner: Troy Gonyon; Due Date: Before next meeting)
2. Clarify "Average Irradiance" in Dot 1 Table (Section 7.1.1)
(Owner: Mike Woods; Due Date: Thursday (ballot deadline))
3. Fiber Optic Fire Hazard Comment for Dot 9
(Owner: Denny Rossbach (via email to Troy); Due Date: for current ballot)
4. Nanoparticle Guidance Development
(Owner: Mike Woods / Rebecca; Due Date: TBD)
5. SSC3 Liaison Application
(Owner: Barbara Sands; Due Date: ASAP)
6. TSC5 Internal Governance Guide Framework
(Owner: Troy Gonyon; Due Date: Exploratory/TBD)
7. Review Dot 8 Section 7 and Appendix G
(Owner: All TSC5 members; Due Date: Before SCDV1)
9. Adjourn
Meeting adjourned at approximately 12:30 PM PT.
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